Construction Site Inspection Checklist

A regular site safety inspection for construction work. It covers the high-risk areas that cause most serious accidents on site: work at height, plant and vehicles, excavations, and health risks such as dust.

How to use: walk round the whole site, answer each question, and note where you found any problem. Anything marked No goes on the action list at the end. Delete questions that don't apply and add your own.

| Site / project |  | Date |  |
| --- | --- | --- | --- |
| Inspected by |  | Time |  |
| Site manager / supervisor |  | Next inspection due |  |

1  Site set-up, security and welfare

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Is the site boundary secure, with signs and public protection in place? | ☐ | ☐ | ☐ |  |
| Are toilets, washing facilities with hot and cold water, drinking water and a rest area provided and clean? | ☐ | ☐ | ☐ |  |
| Is there somewhere to dry clothes and store PPE? | ☐ | ☐ | ☐ |  |
| Have all workers had a site induction, and is it recorded? | ☐ | ☐ | ☐ |  |
| Is the construction phase plan on site and up to date? | ☐ | ☐ | ☐ |  |

2  Access routes and housekeeping

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are walkways clear, level and separate from vehicle routes? | ☐ | ☐ | ☐ |  |
| Is waste removed regularly, with materials stored tidily? | ☐ | ☐ | ☐ |  |
| Is lighting adequate in work areas, stairs and access routes? | ☐ | ☐ | ☐ |  |
| Are holes and openings covered, secured and marked, or guarded? | ☐ | ☐ | ☐ |  |

3  Work at height

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Has each scaffold been inspected before first use and at least every 7 days, with records? | ☐ | ☐ | ☐ |  |
| Are guardrails, toe boards and brick guards in place where needed? | ☐ | ☐ | ☐ |  |
| Are scaffold tags current and loading bays not overloaded? | ☐ | ☐ | ☐ |  |
| Are ladders in good condition, secured, and used only for short, light work? | ☐ | ☐ | ☐ |  |
| Are mobile towers erected by trained people, with brakes on and guardrails fitted? | ☐ | ☐ | ☐ |  |
| Is edge protection in place on roofs, floor edges and stairwells? | ☐ | ☐ | ☐ |  |

4  Excavations

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are excavations supported or battered back to prevent collapse? | ☐ | ☐ | ☐ |  |
| Are edges protected with barriers to prevent people and vehicles falling in? | ☐ | ☐ | ☐ |  |
| Have underground services been located (plans and cable avoidance tool) before digging? | ☐ | ☐ | ☐ |  |
| Are excavations inspected at the start of each shift, with records? | ☐ | ☐ | ☐ |  |

5  Plant, vehicles and lifting

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are pedestrians and vehicles kept apart, with a traffic management plan? | ☐ | ☐ | ☐ |  |
| Are plant operators trained and carrying valid cards? | ☐ | ☐ | ☐ |  |
| Are reversing movements controlled (banksman, cameras or alarms)? | ☐ | ☐ | ☐ |  |
| Do lifting equipment and accessories have current thorough examination reports? | ☐ | ☐ | ☐ |  |
| Are lifting operations planned, with a competent person in charge? | ☐ | ☐ | ☐ |  |

6  Electrical safety and tools

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are portable tools 110V or battery powered where possible? | ☐ | ☐ | ☐ |  |
| Are cables and leads undamaged and routed to avoid trip hazards and damage? | ☐ | ☐ | ☐ |  |
| Are overhead power lines identified, with barriers or goalposts where needed? | ☐ | ☐ | ☐ |  |
| Are tools in good condition, with guards fitted? | ☐ | ☐ | ☐ |  |

7  Health: dust, noise, vibration and substances

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Is dust controlled at source (water suppression or on-tool extraction)? | ☐ | ☐ | ☐ |  |
| Is suitable, face-fit tested RPE worn where needed? | ☐ | ☐ | ☐ |  |
| Are hearing protection zones marked and protection worn? | ☐ | ☐ | ☐ |  |
| Is exposure to hand-arm vibration assessed and managed? | ☐ | ☐ | ☐ |  |
| Are COSHH assessments available and substances stored safely? | ☐ | ☐ | ☐ |  |
| Has an asbestos survey been done where needed, and do workers know the results? | ☐ | ☐ | ☐ |  |

8  PPE

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are hard hats, boots, hi-vis and gloves worn as required? | ☐ | ☐ | ☐ |  |
| Is task-specific PPE (eye protection, harnesses) available and in good condition? | ☐ | ☐ | ☐ |  |

9  Fire and emergency arrangements

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are fire points with extinguishers in place and escape routes clear? | ☐ | ☐ | ☐ |  |
| Are hot works controlled by a permit, with a fire watch afterwards? | ☐ | ☐ | ☐ |  |
| Are flammable materials and gas cylinders stored safely and away from buildings? | ☐ | ☐ | ☐ |  |
| Is there a trained first aider on site and a stocked first aid kit? | ☐ | ☐ | ☐ |  |
| Do workers know the emergency procedure and assembly point? | ☐ | ☐ | ☐ |  |

10  Paperwork and supervision

| Check | Yes | No | N/A | Comments / location |
| --- | --- | --- | --- | --- |
| Are RAMS on site for the work in progress, and have workers been briefed? | ☐ | ☐ | ☐ |  |
| Are permits in place where needed (hot works, excavation, confined space, electrical)? | ☐ | ☐ | ☐ |  |
| Are inspection registers up to date (scaffolds, excavations, lifting equipment)? | ☐ | ☐ | ☐ |  |
| Is the F10 notification displayed where required? | ☐ | ☐ | ☐ |  |
| Have actions from the last inspection been completed? | ☐ | ☐ | ☐ |  |

11  Action list

Priority: High = make safe now, stop work if needed; Medium = within 1 week; Low = within 1 month. Adjust to suit.

| Problem found and action needed | Priority | Action by | By when | Done |
| --- | --- | --- | --- | --- |
| Example: Missing toe board on scaffold lift 2, north elevation. Close off lift and ask scaffolder to reinstate. | High | Site manager | Today | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |
|  |  |  |  | ☐ |

12  Sign-off

| Inspector signature |  | Date |  |
| --- | --- | --- | --- |
| Manager signature |  | Date |  |

Want an independent site inspection? 3Sixty's chartered consultants carry out construction site inspections and audits with a clear, prioritised report. Call 01869 222 144 or visit 3sixtyhealthandsafety.com.

This checklist is a guide. It does not cover every hazard in every site. Add checks for the risks in your own work.